## Slide 1: DOELAP Assessor Training Corrective Actions
Idaho Falls, ID
September 2023

## Slide 2: DOELAP Corrective Action – General Process Overview
Post Assessment
Applicant program develops the CAs
DOE field element concurs on the CAs
CAs are forwarded to the STM by the cognizant field element
STM receives and reviews the CAs
  May contact the assessors to verify the adequacy of the CAs
Applicant program provides objective evidence to demonstrate the CAs were effectively implemented
  A follow-up assessment may be performed when necessary

## Slide 3: DOELAP Assessor Role
Assessor Responsibilities
  Perform assessment
    Evaluate the effectiveness of the implemented corrective action(s)
    Review documentations provided
    Report findings (Observation, Concern, Deficiency)
    Any recurrent Concern identified during the program’s next accreditation cycle, irrespective of any corrective action implemented, will automatically may be elevated to a deficiency
  Conduct follow-ups

## Slide 4: Post Assessment Actions – Applicant Response to Findings
Under most circumstances, the role of the assessor ends at this point. However, sometimes the STM, OSB, and/or Admin may contact the assessor(s) for further input, confirmation, or questions regarding the assessment.
Applicant Program
Reviews the assessment findings
Findings at the observation level:
  No written response required by the assessed program
Findings at the concern or deficiency level:
  Requires the assessed program to submit a CAP to the STM for approval
Develops and submits official CAP response to STM
  Program’s have the option to contest or appeal any reported findings

## Slide 5: Post Assessment Actions –Findings at the CONCERN Level
Applicant Program Responsibilities
CAP submitted to DOELAP STM within 45 days of the close-out meeting
Complete all corrective actions within 1 year of the close-out meeting
For corrective actions lasting longer than 1 year:
  Notify STM and appropriate DOE field element
  Provide a written justification for why the CA(s) were not completed within 1 year
Evaluate the effectiveness of the corrective action
Ensure documentation is available for review during next on-site assessment

## Slide 6: Post Assessment Actions –Findings at the DEFICIENCY Level
* Results in the suspension of an application for accreditation *
Applicant Program Responsibilities
  CAP submitted to STM within 45 days of the close-out meeting
  Complete all CAs within 60 days of the close-out meeting
    Evidence that CA has been completed must be received by the STM within 60 days of the close-out meeting to reactivate the suspended application
    CAs may be confirmed by a monitoring visit
  Evaluate the effectiveness of the CA
  Ensure documentation is available for review the next on-site assessment

## Slide 7: Post Assessment Actions –Findings at the DEFICIENCY Level
Substantial deficiencies, as determined by the DOELAP Administrator, may result in the suspension or revocation of a programs current accreditation until all CAs are completed
Substantial deficiencies may require a monitoring visit prior to resumption of DOELAP Accredited activities

## Slide 8: Terminology
Correction
Corrective Action
Root Cause
Root Cause Analysis
Corrective Action Plan

## Slide 9: Correction vs. Corrective Action
Difference between Correction and Corrective Action?
Root Cause Analysis (RCA)

## Slide 10: Correction vs. Corrective Action
Correction
  The action taken to perform a fix of the immediate problem to resolve the nonconformity and make it acceptable (i.e., when you find a problem and fix the immediate problem)
  Quick, on-the-spot fix to a problem (act of containment)
  Does not take action to prevent the problem from recurring
  Band-Aid fix
  Corrections = Red Flag

## Slide 11: Correction vs. Corrective Action
Corrective Action (CA)
  The action taken to eliminate the cause(s) of existing nonconformities to prevent recurrence
    Evaluate and identify the underlying root cause(s) of a nonconformity and implement planned action(s) to correct the underlying root cause(s) and prevent recurrence
  CA process starts with RCA
    CAs are a result of a thorough root cause analysis process

## Slide 12: Root Cause Determination
Root Cause
A factor that caused a nonconformance and should be permanently eliminated through corrective action or process improvement.
The root cause is the core issue – the highest-level cause – that sets in motion the entire cause-and-effect reaction that ultimately leads to the problem(s).

## Slide 13: Root Cause Determination
The term root cause implies there is a single cause for a problem
Commonly, multiple causes interact and work together to trigger the problem
Thus, some CAPs may identify more than one true root cause

## Slide 14: Common Root Causes
Lack of or incomplete training
Design of process
Change in control/communication
Inadequate SOPs
Purchasing/supplier quality issues
Neglected QC trends or outliers
Lack of documentation
Insufficient instrument maintenance
Equipment malfunction or design

## Slide 15: What is Root Cause Analysis?
  Root Cause Analysis
  An investigation that involves implementing analytical, problem-solving techniques to identify all potential cause(s) for the nonconformity.
  A collective term that describes a wide range of approaches, tools, and techniques used to uncover causes of problems.
  Revolves around the process of identifying the source of a problem and looking for a solution in a way that the problem is treated at the root level.
  The results of RCA are then used to formulate a CAP.
  The elimination of the symptoms of a problem is not alone sufficient to address the problem and prevent recurrence – it must be addressed at the source.

## Slide 16: Root Cause Analysis Tools
Implementation of RCA
Most methods are found to be fairly effective at reaching potential root causes if properly carried out.
Common examples:
    5 Whys
    Fishbone Diagrams (Cause-and-Effect)
    Tree diagrams
Ideally, a combination of various tools and techniques should be used to conduct root cause analysis in your organization.

## Slide 17: Root Cause Analysis Tools
5 Whys
Considered the simplest approach to RCA.
Problem statement: The electric water heater suddenly stopped working.
Why did it stop? It was found that the circuit breaker was tripped.
Why did the circuit breaker trip? The electric water heater was about to overheat.
Why was the electric water heater about to overheat? A buildup of sediment was found around the heating elements.
Why was the machine not checked and cleaned? There was a missed inspection and maintenance routine.
Why was there a missed routine check? The assigned team member wasn’t properly informed about the schedule.

## Slide 18: Root Cause Analysis
Other Approaches, Methodologies, and Techniques
Events and causal factor analysis: Widely used for major, single-event problems; uses evidence gathered quickly and methodically to establish a timeline for the activities leading up to the accident. Once the timeline has been established, the causal and contributing factors can be identified.
Change analysis: Applicable to situations where a system’s performance has shifted significantly. It explores changes made in people, equipment, information, and more that may have contributed to the change in performance.
Barrier analysis: Focuses on what controls are in place in the process to either prevent or detect a problem, and which might have failed.
Management oversight and risk tree analysis: One aspect is the use of a tree diagram to look at what occurred and why it might have occurred.

## Slide 19: Root Cause Analysis
Other Approaches, Methodologies, and Techniques
Pareto Analysis: Technique used to help prioritize potential causes by identifying the most common ones.
Define, Measure, Analyze, Improve, Control (DMAIC): A data-driven strategy of an organization’s Six Sigma quality initiative that’s used in process improvement. Composed of relatively straightforward steps, with each step aiming to ensure the best results possible.
Failure Modes and Effects Analysis (FMEA): Risk analysis tool that can help prioritize possible causes based on their potential impact. One of the most in-depth methods and is best applied to establish cause-and-effect relationships that aim to describe why specific issues occur.

## Slide 20: Root Cause Analysis – General Process

## Slide 21: Root Cause Analysis
Determining the true root cause is not always obvious
    Requires careful, thorough analysis and critical thinking of all potential causes of the problem
    Often the most difficult task but is fundamental for the CA process
RCA can be conducted by a single person; however, the outcome is generally better when a group of people work together to find the causes of a problem.

## Slide 22: Root Cause Analysis
    Common Issues or Mistakes
    The simplest, and most common, root cause analysis mistake is not to perform a root cause analysis.
    People tend to jump to conclusions and start with knee-jerk reactions based on assumptions.
      Likely the most common reaction when something goes wrong.
      Often leads to fixing the symptoms of a problem rather than the root cause.
      Examples include equipment failure, human error, customer complaint.
    Sometimes people go overboard with RCA by investigating problems that aren’t worth investigating.
    Sometimes people start taking shortcuts to save time.

## Slide 23: Root Cause Analysis
Identifying the Root Cause(s)
Not all root cause analysis will be effective the first time
There may be more than one true root cause identified
Avoid the identifying people or human error as the root cause
  People are generally not the ultimate cause of the problem
  Most people do not come to work planning to sabotage their own work

## Slide 24: Root Cause Analysis
    Questions that may help to determine if your root cause appropriately addresses the problem – not just the specific incident.
    Does the RCA simply restate the finding?
    Is the RCA a statement of correction?
    Does the RCA refer to the system or the incident?
    Does the RCA answer the following question: Why did the system or process breakdown occur?
    Have you identified the necessary corrective action that needs to be taken for the root cause identified?
    Does the identified root cause allow the problem to be turned on and off?

## Slide 25: What is a Corrective Action Plan?
Corrective Action Plan (CAP)
  A documented plan developed by the assessed program to address the nonconformity and communicate the program’s plan of action which includes the identification of the true root cause(s) of the problem and the corrective actions intended to eliminate those cause(s).
  CAP may be a single plan of action or a step-by-step plan of action depending on the severity of the finding
    i.e., Corrective actions should be commensurate with the magnitude and risk of the problem

## Slide 26: Goal of the Corrective Action Plan
The goals of implementing a CAP
  to identify and address the true root cause(s) of a problem
  to permanently fix the problem and prevent its recurrence
  to eliminate nonconformities
  to improve processes or methods

## Slide 27: Writing a Corrective Action Plan
Staff responsible for writing the CAP should be familiar with the processes or areas of noncompliance identified
CAP should be created with realistic corrective actions and timelines
CA process should begin immediately after the on-site assessment
CAP includes all DOELAP requested information

## Slide 28: Effective Corrective Actions
Adequately addresses the specific deficiency or concern
Thorough root cause analysis was performed
Did the lab look at other areas where similar problems may occur?
Addresses system failures
Includes the ongoing assessment of the effectiveness of CA’s

## Slide 29: Reasons for Poor Corrective Actions
People start fixing problems before finding the problem’s root causes
  Instinctive reaction is to try to fix it; fail to apply adequate RCA of the problem
Don’t systematically investigate the problem because they don’t have a good understanding of the causes of the problem
  “It’s impossible to solve significant problems using the same level of knowledge that created them.” - Albert Einstein
Thought the problem was too simple to require formal RCA
  Misunderstanding of a true root cause
  Leads to corrections
  If they have already seen the effect before then they think they know the cause (same problem as last time). Tend to use the same CA for problems that may have different causes.

## Slide 30: Examples of Poor Corrective Actions
People find one or more root causes, but they still can’t seem to fix the problem. So, they often revert to the Three Standard Corrective Actions to fix all problems.
Discipline: This starts with the common corrective action, “Counsel the employee to be more careful when…”
Training: One of the most used (and misused) corrective action.
Procedures: If you don’t have one, write one. If you already have one, make it longer.
Another example is the “Re” corrective actions.
Re-train, Re-write, Re-mind, Re-emphasize, re-place, re-evaluate, re-qualify…
If it didn’t work the first time, then why will it work this time?
What caused the first training, procedure, part, rule, qualification, etc. to fail?

## Slide 31: Corrective Action Plans
    Questions that may help to determine if your corrective action plan appropriately addresses the problem.
    Does the CAP address the root cause?
    Does it simply give correction?
    Does it address the system?
    Does it implement a change in the system or is it incident specific?
    Is there one corrective action for each identified root cause?
    Does data confirm that the problem is alleviated as a result of the corrective action?

## Slide 32: RCA and CAP scenario
    Situation:
    It's 3 p.m. and you have a 5 p.m. deadline. You are hurriedly reviewing a lengthy procedure that needs to be amended and on the boss' desk by 5 p.m. when disaster strikes- the lens of your glasses falls out again! What do you do?
    Finding (Problem):
    Your glasses have broken several times within the last few weeks, which is slowing your productivity.

## Slide 33: RCA and CAP scenario
    Finding (Problem): Your glasses have broken several times within the last few weeks, which is slowing your productivity.
    Bad Example:
    Containment: Use clear adhesive tape to secure the lens in the frame.
    Root Cause: The root cause of the finding is that the glasses keep breaking, causing me to miss deadlines.
    Corrective Action: Use clear adhesive tape to secure the lens in the frame, each time they break; ask boss for deadline extension.
    Why is this a poor example of RCA?
    Root cause listed is a symptom of the problem; it does not address the true problem in the system. The CAP is an act of containment, and the finding and the root cause are identical which provides no true value to the system.

## Slide 34: RCA and CAP scenario
    Good Example:
    Short-Term Containment: Use clear adhesive tape to secure the lens in the frame.
    Root Cause Analysis: Methodology: 5-Why
    Restate the finding: The lens keeps falling out of my eyeglasses.
    1st Why: Why does the lens keep falling out of your glasses? I store them in my desk drawer without a case and they sometimes get tossed around in the drawer amidst the other items that are strewn about.
    2nd Why: Why are you not storing them in the case? I am not storing them in the case because I lost the case.
    3rd Why: Why did you lose the case? My desk is extremely disorganized.
    Corrective Action: I will buy a new case and use it! I will organize my desk so that the glasses will no longer be smashed under the pressure of the other items in my desk. Since my desk will be organized, I will be able to store the glasses in their case in a clear area of your desk drawer when I don't need to wear them.

## Slide 35: Purpose of DOELAP Corrective Action Plan
  Accountability
    Ensures the assessed program is held accountable for addressing their nonconformities and implementing corrective actions
    The assessed program is expected to monitor or follow-up on implemented corrective actions, evaluate and document their effectiveness at correcting the problem and preventing recurrence.
    Improve overall performance

## Slide 36: DOELAP Corrective Action Plan
CAP for DOELAP nonconformities should address the following:
  What are the corrective actions?
    Address the nonconformity
  Who is responsible for the implementing the various aspects of the CAP?
    Likely involves multiple personnel
  When (date) is the corrective action planned to be completed?
    Projected timeline for completing CA
  How will ongoing compliance be maintained?
    Follow ups
    Monitor implemented CA
    Evaluate results of implemented CA for effectiveness

## Slide 37: Corrective Action Follow Up
DOELAP Assessors
Check on status of CAs from previous assessments
  Verify all CA’s have been effectively implemented as documented
  Evidence of RCA applied for CA processes
  Verify the program is monitoring the results of implemented CA(s) for effectiveness and completeness
  Verify all required documentation is provided and satisfactory
  Note the closure of finding(s) in assessment report
If CA implemented differs from submitted CAP –– find out why
STM is available to provide assistance and answer questions

## Slide 38: Corrective Action Plan Example: Finding #1
Finding #1
Concern (1): The standard operating procedure XYZ-003, Rev. 21, Assessment, Preventive Action, Corrective Action, and Nonconformance Reporting, dated March 05, 2015, has not been updated or revised since 2015. Section 3 states the SOP to be reviewed and revised every five years. 4.4 (b) and 4.5 (a).
Rated as a Concern
References the requirement, provides supporting evidence of nonconformity

## Slide 39: Correction Action Plan Example: Concern #1
  Submitted Response to Concern
Revise XYZ-003, Rev. 21, Assessment, Preventive Action, Corrective Action, and Nonconformance as necessary. Revise section 3 of the SOP to state three-year review cycle.
Estimated completion date: 6/15/2022.
CAP response is more of a correction than corrective action
  lacks evidence of RCA
“…revise section 3 of the SOP to state a three-year cycle.”
  How will this be achieved? What is the process? Who is responsible for what?
  This process appears to already be in place, why did it fail? What is the root cause? How can we expect this CAP to effectively correct and prevent the problem from recurring?

## Slide 40: Corrective Action Plan Example: Finding #2
Finding #2:
Concern #1 - All of the procedures provided to the assessment team were currently up-to-date and reviewed. However, several procedures were discovered to have been reissued after exceeding the three-year review cycle timeframe as stated within the requirements of the Quality Assurance Plan. This appears to be a recurring issue. A concern on the 2017 onsite assessment found that eight procedures were not updated within the previously stated two-year review cycle timeframe. This concern was considered closed in 2021 during the “Quality Review for Programs in Good Standing” with the procedures being revised and officially reissued. However, these previously implemented corrective actions do not seem to have been effective in resolving this issue and do not adhere to the criteria in 4.4(b).

## Slide 41: Corrective Action Plan Example: Finding #2
Proposed Corrective Action C1a
Analytical Services and Instrumentation (AS&I) and Technical Services Department (TSD) Management have agreed to provide additional administrative support to assist with the performance and coordination of the procedure review and revision process. Assistance may include:
Maintaining a procedure tracking index/log and procedure revision schedule.
Providing review and revision notifications to AS&I personnel and management.
Ensuring the final procedures are properly formatted and updated with information provided by technical staff.
Obtaining the appropriate procedure signatures.
Electronically distributing, posting, and controlling the documents for user access.
Proposed Corrective Action C1b
Procedure review dates may be adjusted to reduce the need to review and reissue multiple procedures at the same time. However, the review reissue dates shall not be extended past the review cycle timeframe as specified in the Radioanalytical Laboratories Quality Assurance Plan (i.e., the procedure reissue date may not be extended past 3 years from the current issue date).
Proposed Completion Date: 7/1/2024

## Slide 42: Questions?