## Slide 1: DOELAP Assessor Training Using the Checklist
Idaho Falls, ID
September 2023

## Slide 2: DOELAP External Dosimetry Checklist
The checklist can be found in the email from Laird or at the RESL DOELAP web page
  https://www.id.energy.gov/resl/assessordata/dosimetry/audit sites/PNNL/2021A/PNNL.html
  https://www.id.energy.gov/resl/doelap/doelap.html
Based on DOE-STD-1095-2018
The checklist is not a “normative” document
  Findings are written based on Standard requirements
  Checklist is a tool for the assessor
  Personal checklists can also be used
  Additional notes in another form or location are fine

## Slide 3: DOELAP External Dosimetry Checklist
Portions of the checklist can be evaluated and filled out in advance
Assessment team sends in a completed checklist with the signed assessment report and attendance sheets
  Defensibility if there are questions about whether something was evaluated
  N/A column
Findings are written based on the Standard reference, not checklist
  This wasn’t always the case in DOELAP, but is the guidance now
  Findings database

## Slide 4: DOELAP Findings Database
Chart: Test Session 2018-B , 2019-A , 2020-A , 2020-B , 2021-A , 2021-B , 2022-A , 2022-B , 2023-A Assessment Finding
| 3.2(a) | 3.2(f) | 4.1(a) | 4.1(b) | 4.2(a) | 4.2(b) | 4.2(c) | 4.2(d) | 4.2(e) | 4.2(g) | 4.2(h) | 4.2(i) | 4.2(j) | 4.2(k) | 4.3(a) | 4.3(b) | 4.3(c) | 4.4(b) | 4.4(c) | 4.4(e) | 4.5(a) | 4.5(b) | 4.5(c) | 4.6(a) | 4.6(b) | 4.6(c) | 4.6(d) | 4.6(f) | 4.7(a) | 4.7(b) | 4.7(c) | 4.7.1(a) | 4.7.1(b) | 4.7.1(c) | 4.7.1(d) | 4.7.1(e) | 4.7.1(g) | 4.7.2(b) | 4.7.2(c) | 4.7.2(d) | 4.7.2(e) | 4.7.2(f) | 4.7.2(g) | 4.7.3 | 4.8(b) | 4.8(f) | 4.8(g) | 4.9 | App. B Paragraph 2 | App. B Paragraph 5 | App. B Paragraph 6 | App. B Pararagraph 3
 | 1 | 3 | 4 | 1 | 3 | 1 | 5 | 2 | 4 | 11 | 9 | 3 | 5 | 5 | 3 | 7 | 5 | 6 | 1 | 2 | 3 | 2 | 4 | 4 | 4 | 3 | 3 | 9 | 2 | 5 | 4 | 1 | 3 | 16 | 7 | 2 | 1 | 3 | 5 | 7 | 15 | 4 | 1 | 1 | 1 | 1 | 1 | 4 | 2 | 5 | 3 | 3

## Slide 5: Discussion on Checklist Use
How do assessors use the checklist?

## Slide 6
Questions?