## Slide 1: DOELAP Assessor Training Writing the Assessment Report & Close Out Meeting
Idaho Falls, ID
September 2023

## Slide 2: Assessment Report Finding Categorization
Deficiency
The level of finding for any aspect of a personnel dosimetry or radiobioassay program that an assessment team believes to have a significant, immediate, and continuing adverse impact on the quality of a program. (DOE-STD-1111-2018 §4.4.2(a))
  A Deficiency suspends an application for accreditation.
  A Deficiency shall be remediated through a corrective action plan and the plan shall be submitted through the appropriate field element to the DOELAP STM within 45 calendar days after the date of the close-out meeting.
  Evidence a corrective action plan has been completed shall be received by the DOELAP STM within 60 calendar days of the close-out meeting’s to reactivate the suspended application.

## Slide 3: Assessment Report Finding Categorization
Deficiency – Continued
  An assessment of the effectiveness of the corrective action(s) shall be available for the next accreditation assessment. If not previously submitted DOELAP will request this document prior to sending notification to the program of the assigned assessors
  Corrective actions may be confirmed by a monitoring visit.
  A Deficiency identified by the previous onsite assessment that has been found to be recurrent, irrespective of any corrective action implemented, shall suspend an application until an official review of the deficiency and corrective action has been conducted by DOELAP. (DOE-STD-1111-2018 §4.4.2(c))

## Slide 4: Assessment Report Finding Categorization
Concern
  An element of a program that is considered marginal with respect to compliance with DOELAP criteria, but does not have a significant, immediate, and continuing adverse impact on dosimetry program quality. (DOE-STD-1111-2018 §4.4.2(a))
  Develop a corrective action plan and submit it to the STM through the appropriate field element within 45 days of the close-out meeting.
  Complete all corrective actions within one year of the assessment close-out meeting. For any corrective action lasting longer than one year, the program shall notify the STM and the appropriate DOE field element. The program shall provide a written justification for why the corrective actions were not completed within one year. The STM may ask for additional documentation, such as a tentative schedule and estimated completion date.

## Slide 5: Assessment Report Finding Categorization
Concern - continued
  Evaluate the effectiveness of the corrective action. Ensure documentation is available for review during the next on-site assessment.
One or more Concerns will not affect a program’s accreditation.
For deficiencies and concerns, ensure a DOE Standard requirement is cited. Note that the requirement is the 2nd column of the checklist.

## Slide 6: Assessment Report Finding Categorization
Observation
  This could be a suggested improvement that a program may incorporate or the highlighting of a noteworthy practice.
  (DOE-STD-1111-2018 §4.4.2(a))
  No written response to DOELAP is required.

## Slide 7: Assessment Report Upgrading Previous Concerns
A recurrent Concern identified during the program’s next accreditation cycle, irrespective of any corrective action implemented, will automatically may be elevated to a deficiency.
  Current language in the Standard
  Alternatives:
    Assessors may leave the prior Concern open and write a new Concern or Deficiency based on the quality system not functioning effectively
    Assessors may close the prior Concern if there is evidence the CAP was implemented but was ineffective in the longer term
The Senior Technical Manager or Oversight Board have the discretion to recommend a finding at the observation or concern level to be elevated. Rare.

## Slide 8: Assessment Report
Cover Page (provided by the STM)
  Signatures
Introduction or Assessment Summary
  Identification of assessed organization
  Identification of interviewees and position title
  Identification of the assessment team
  Summary of types and number of findings
  Other appropriate information

## Slide 9: Assessment Report
Previous Assessment Status
  Statement of Finding
    The reason we send the word file of the previous assessment report is the finding can be copied and pasted directly into the new assessment report before the assessors write their ‘status’ of previous concerns/deficiencies
  Summary of Resolution for each Finding (Closure or Deficiency)
Individual Sections from Applicable Documents
  General description and comments
  List and prioritization of findings

## Slide 10: Assessment Report Example Report Page
PERSONNEL
Site xyz has an adequate number of personnel to perform the required analyses and maintain the necessary quality assurance requirements. Training is current and documented for all personnel. Retraining is documented, but retraining documents are not signed by the trainer.
Deficiencies
None
Concerns
C.3 The educational background of the operational Team Leader for the whole body counter is inconsistent with requirements in the Position Description. 4.2(b)
Observations
O.2 Retraining is performed and current; however, the trainer has not signed the retraining form. It is suggested that the trainer sign retraining forms to indicate who conducted the training.

## Slide 11: Assessment Report Final Activities
Print and distribute draft final report
  Give the program staff a chance to review report
  Verify the factual accuracy of the report
    Names of interviewees
    Areas of investigation
    Correct management representative(s)
    Correct contractor names (they keep changing!)
    Program and assessors agree to written findings statement (ideally, and within reason)
Prepare informal agenda for closing meeting
Complete final report

## Slide 12: Complete the Assessment Closing meeting
Attendance sheet
Team lead distributes final report
Team lead acknowledges the competence and cooperation of the facility staff, as warranted
Team lead summarizes the scope of the assessment and explains the categorization of findings

## Slide 13: Complete the Assessment Closing meeting (continued)
Team lead presents the assessment findings
Team lead directs the response to questions raised by facility staff (not a roundtable discussion)
Team lead summarizes next steps in the accreditation process e.g., corrective action plan
Team lead gets cover sheet signed by the Authorized Site Representative, or that person’s designee, and the assessment team members
Team lead distributes copies of the report

## Slide 14
Questions?