## Slide 1: DOELAP Assessor Training Overview of DOE-STD-1111 & DOE-STD-1112
Idaho Falls, ID
September 2024

## Slide 2: DOE-STD-1111-20XX
Currently through RevCom, in response phase
Program Administration
Accreditation Process
Specific performance testing and site assessment criteria
  DOE-STD-1112 Department of Energy Laboratory Accreditation Program for Radiobioassay
Applies to DOE Headquarters, field elements, and contractors working to the requirements of 10 CFR 835 (DOE-STD-1111-2018, DOE-STD-1112-2019)
Administered by the Office of Worker Safety and Health Policy (EHSS-11)

## Slide 3: DOE-STD-1111-20XX Program Administration & Responsibilities
DOELAP Administrator (§3.1)
  Responsible for the development of policies, procedures, standards and continued improvement
  Makes the final decisions on accreditations, amendments, technical equivalencies and appeals
  Appoints and removes assessors and OSB members

## Slide 4: DOE-STD-1111-20XX Program Administration & Responsibilities
Senior Technical Manager (STM) (§3.2)
  Coordinates the accreditation process
  Manages the performance testing program
  Maintains schedules for receipt of applications, performance testing and on-site assessments
  Ensures continued training of assessors
  Makes recommendations on requests for amendments, technical equivalency, or accreditations to the DOELAP Administrator
  Makes recommendations to the OSB and DOELAP Administrator regarding accreditation applications, performance testing, on-site assessments, technical equivalencies, or other DOELAP issues
  Maintains records that support accreditation of dosimetry and radiobioassay programs

## Slide 5: DOE-STD-1111-20XX Program Administration & Responsibilities
Oversight Board (OSB) (§3.3)
  Appointed by the DOELAP Administrator
  Have extensive knowledge and experience in implementing DOELAP-accredited external dosimetry and radiobioassay programs
  Each serve a five-year term
  May serve one or more successive terms
OSB Charter (Appendix B)
  Advise the DOELAP Administrator regarding dosimetry or radiobioassay issues
  Support the DOELAP Administrator to ensure technical quality and consistency of DOELAP technical standards and on-site assessments

## Slide 6: DOE-STD-1111-20XX Program Administration & Responsibilities
Assessors (§3.4)
  Recognized by DOELAP as a technical expert
  Trained by DOELAP to perform assessments
  Conduct on-site assessments
  Maintain assessor status by completing DOELAP-sponsored assessor training and participate in at least one on-site assessment every 3 years
DOE Field Element Managers (§3.5)
  Ensure programs under their management receive and maintain DOELAP accreditation or
  Receive exception from accreditation in accordance with 10 CFR Part 835
  Refers to the DOE employee responsible for oversight of the accredited program, NOT the DOE Site Office manager

## Slide 7: DOE-STD-1111-20XX Program Administration & Responsibilities
DOELAP Authorized Program Representative
  New addition
  Manager who authorizes documents and commits organization resources
  Ensures field element receives information to fulfill responsibilities
Performance Testing Laboratory (§3.7)
  Radiological and Environmental Sciences Laboratory
  Authorized to conduct performance testing for DOELAP
  ANSI/HPS N13.30, Performance Criteria for Radiobioassay
  ANSI/HPS N13.11, American National Standard for Dosimetry – Personnel Dosimetry Performance – Criteria for Testing
  ANSI/HPS N13.32, Performance Testing for Extremity Dosimeters

## Slide 8: Definitions Common to Both DOE Standards
Shall – used to denote a required action that is to be performed
Should – used to denote an action that is expected to be performed unless documentation is provided validating technical equivalence

## Slide 9: DOE-STD-1111-20XX Application for Accreditation (§4.1)
Completed application shall be routed through the cognizant DOE field element manager for approval and submitted to the STM. The application shall contain the following:
  The identification of the authorized program representative who authenticates the submitted information and is authorized to commit the organization’s resources to secure and maintain accreditation
  The identification of an individual to be the point of contact for communications and activities with DOELAP
  The requested categories for which accreditation is sought
  A description of each processing system or program employed including specific instrumentation, apparatus, and protocols used
  The applicable quality assurance documentation and other supporting documentation as requested by the DOELAP STM
Along with the application, programs seeking initial accreditation shall also submit a detailed self-assessment of their program using the applicable DOELAP requirements

## Slide 10: DOE-STD-1112-2019 Performance Testing (§3.2)
Proficiency shall be demonstrated on radiobioassay systems that the program intends to use to demonstrate compliance with 10 CFR Part 835.402
The testing categories...shall be representative of the evaluations that are made as part of an internal dose monitoring program and the technical basis shall be documented
Performance testing as described in ANSI/HPS N13.30
Performance testing shall be defined and consistent with routine measurement protocols. Procedures and counting times normally employed for analysis of radionuclides in worker measurements shall be used.

## Slide 11: DOE-STD-1112-2019 Performance Testing (§3.2) continued
Direct Radiobioassay Performance Testing
  Testing levels defined in ANSI 13:30 Table 2
  BOMAB, lung (LLNL torso phantom), thyroid (LSC vial)
  Phantoms counted 5 times, with repositioning between counts
Indirect Radiobioassay Performance Testing
  Testing levels defined in ANSI 13:30 Table 3
  6 testing samples and 5 blanks, must analyze at least 5 of the 6
  Results reported via reporting link, with TPU at 1 standard deviation
An applicant may elect to retest if the performance testing results for each selected category do not meet the acceptance criteria. An applicant is allowed a maximum of 2 retests, irrespective of which performance category may have failed. Failure of the second retest will result in failure of the application for accreditation
Notes: Will have another presentation on the PTL, including 13:30

## Slide 12: DOE-STD-1111-20XX On-Site Assessment (§4.3)
Program shall undergo an on-site assessment by DOELAP assessors
For initial accreditation, on-site assessment is conducted after performance testing is completed
Monitoring visit may be conducted after implementation of the new system
Monitoring visit may be conducted if major deficiencies were identified
Following initial accreditation, a triennial assessment is required

## Slide 13: DOE-STD-1111-20XX On-Site Assessment (§4.3) continued
Assessor Selection
  STM assigns minimum of two qualified DOELAP assessors
  STM notifies the applicant program and the cognizant field element of the assessment
Document Review
  STM shall provide assessors with the application, quality assurance documentation, and other supporting documentation
  Assessors shall review all aspects of the programs management system
  Assessors may request additional documentation from the program
  In cases where the assessor in coordination with the STM determines that the management system documentation requires significant revision, DOELAP may require the laboratory to improve its documentation and submit it for further review prior to proceeding with the accreditation process

## Slide 14: DOE-STD-1111-20XX On-Site Assessment (§4.4)
Assessors review program documents and records, observe processes, inspect facilities and equipment, and interview personnel
Assessors review previous DOELAP assessment findings to ensure the corrective actions have been implemented
Assessors use a checklist provided by DOELAP
Checklists include the requirements of DOE-STD-1112-2019, as well as other referenced consensus standards

## Slide 15: DOE-STD-1111-20XX On-Site Assessment (§4.4) continued
Observation: An observation is a suggested improvement to the personnel dosimetry or radiobioassay program. The suggestion is offered to “fine tune” a program. No action or written response is required
Concern: A concern is a condition within an element of a personnel dosimetry or radiobioassay program that is considered marginal with respect to compliance with a DOELAP requirement, but does not have a significant, immediate, and continuing adverse impact on program quality. Requires a corrective action plan
Deficiency: A deficiency is a documented nonconformance with DOELAP requirements that has a significant, immediate, and continuing adverse impact on personnel dosimetry or radiobioassay program quality. Requires a corrective action plan completed within 60 days.
We’ll discuss these in much more detail later on.

## Slide 16: DOE-STD-1111-20XX Corrective Action Plan (§4.5)
Program shall submit a corrective action plan through the cognizant Field Element Manager to the STM for approval
The corrective action plan should determine the root causes of findings and shall include the actions to be taken to address the concerns and deficiencies, as well as the projected dates of completion of the actions
Any significant modifications to the plan shall be communicated to the DOELAP STM and include evidence that the cognizant DOE Field Element Manager has been notified
Notes: Root causes – generic, not trademark Root Cause Analysis
Significant modifications, replaces “subsequent”

## Slide 17: DOE-STD-1111-20XX Monitoring Visits (§4.6)
May be done at any time during an accreditation period
Verify reported changes to a program or to explore the reason(s) for poor performance during performance testing
May be performed for the following reasons
  As a follow up to previous on-site assessment
  A continued evaluation of a newly accredited program
  A follow-up of a poor performance testing session
  To evaluate recent programmatic changes that could significantly impact the quality of a program
  To follow up on a technical equivalence request, or
  At the request of the DOE field element manager.

## Slide 18: DOE-STD-1111-20XX Partial Accreditation (§5.3)
The Administrator may approve partial accreditation for satisfactory performance in one or more of the testing category subsets identified in the application
If a system did not meet the DOELAP performance testing criteria for a particular accreditation category subset, a retest for the failed measurement is scheduled for the next test session
The accreditation process may continue for other requested categories in which the performance testing criteria were met

## Slide 19: DOE-STD-1111-20XX Modifications to Accredited Program (§5.4)
STM shall be notified whenever changes are made to key personnel, processes, procedures, equipment, facilities, software, or other systems that were listed in the application for accreditation
Routine maintenance, where the processes and quality control are formally documented in the personnel dosimetry or radiobioassay program’s quality assurance documentation, shall not be considered a program modification

## Slide 20: DOE-STD-1111-20XX Notification to the STM (§5.4.1)
Modifications, deletions, or additions to systems, processes, equipment, or facilities that were identified in the application of accreditation, that could affect the quality of the data, or that may indirectly impact the personnel dosimetry or radiobioassay program’s ability to accurately perform, record, and report results; or a change in contact information for key personnel or organization structure shall be reported to the STM within 45 days prior to the change, if feasible.
Notification of modifications shall be made via email or by official letter correspondence to the DOELAP STM, with a copy to the cognizant Field Element Manager. The DOELAP STM may require additional information or a demonstration of technical equivalence in order to evaluate the status of the accreditation with respect to the modification or to ensure that the modifications meet DOELAP requirements.
Notes: Removed some specific notifications that were unnecessary and confusing

## Slide 21: DOE-STD-1111-20XX Technical Equivalence (§5.4.2)
Modifications to processes, equipment, or facilities that are different from the DOELAP accredited configuration and directly impact the ability to accurately perform, record, or report dosimeter or radiobioassay results shall require a demonstration of technical equivalence showing the modifications meet or exceed accredited capabilities and commitments as stated in the DOELAP application or quality assurance documentation. Replacement of identical or addition of similar equipment (like for like) shall not normally meet the criteria of a technical equivalence. Demonstrations of technical equivalence shall be reported in writing to the DOELAP STM 45 days prior to the proposed implementation date, if feasible. Examples of modifications that require technical equivalence include:
Changes to critical software,
Changes to a dose calculation algorithm,
Changes to the analysis mode,
Changes to analytical procedures or methods, and
Employment of new procedures or methods.
Notes: The 2024 revision attempted to clarify the times when TE is and is not necessary
Includes “like for like” language

## Slide 22: DOE-STD-1111-20XX Technical Equivalence (§5.4.2) continued
It is recommended that the DOELAP APR discuss the details of the modification and proposed technical verification plan with the DOELAP STM prior to performing the testing needed to show technical equivalence. The DOELAP STM may be able to provide additional guidance to ensure the technical equivalence documentation meets DOELAP requirements.
Evidence shall be submitted supporting a conclusion that the modified personnel dosimetry or radiobioassay program will be technically equivalent or superior to the accredited personnel dosimetry or radiobioassay program.
Documentation to support technical equivalence shall be routed through the cognizant Field Element Manager for approval prior to being sent to the DOELAP STM.
The DOELAP STM will review the documentation and may request DOELAP Oversight Board support.
DOELAP Administrator makes a final determination and notification.
The DOELAP STM or the DOELAP Administrator may require additional information or verifications to be performed before granting technical equivalence.

## Slide 23: DOE-STD-1111-20XX Amendment (§5.5)
Significant changes to this section
A change to the scope of an accredited or qualified personnel dosimetry or radiobioassay program shall be authorized by an amendment to the Conditions of Accreditation (or Vendor Qualification, see Section 7.) prior to affecting the change. A request for an accreditation amendment should be received by the DOELAP STM no less than 45 calendar days, if feasible, before the proposed date of the change for issuance of a timely response
A demonstration of technical equivalence and performance testing may be required prior to approving an accreditation amendment. The DOELAP APR should discuss the details of the proposed modification with the DOELAP STM in advance of requesting an accreditation amendment
Documentation to support the proposed accreditation amendment shall be routed through the cognizant Field Element Manager for approval prior to being sent to the DOELAP STM. The DOELAP STM shall review the documentation and may request DOELAP Oversight Board support in the review of the proposed accreditation amendment. A recommendation shall be provided to the DOELAP Administrator, who shall make a final determination and notification.
Notes: Significant changes to this section
Attempt to clarify semantics of TE vs amendment, or amendment previously being defined very narrowly

## Slide 24: DOE-STD-1111-20XX Appeals (§5.6)
A Program may petition the DOELAP Administrator to appeal an adverse determination regarding
  accreditation, including revoking all or part of the program’s scope of accreditation,
  denial of technical equivalence, or
  denial of amendment requests
Petition to appeal shall be submitted to the DOELAP Administrator no later than 45 days following the receipt of an adverse determination letter.
The petition should explain the reason(s) for the appeal, including appropriate supporting documentation, and shall be submitted to the cognizant field element manager before forwarding to the DOELAP Administrator
Petition to appeal will be investigated by the DOELAP Administrator. The Administrator may select a group of qualified experts, who are independent of the program petitioning the appeal, to investigate the appeal and provide recommendations.

## Slide 25: DOE-STD-1111-20XX Accreditations in Good Standing (§5.7)
When the program submits the DOELAP application before the application deadline and participates during their regularly assigned test cycle and on-site assessment
  The program’s current accreditation will remain in good standing until an official decision is made by DOELAP
  This includes accreditations that are past the effective end date of their current accreditation and awaiting a formal decision from DOELAP on the accreditation renewal

## Slide 26: DOE-STD-1111-20XX Correspondence (§6)
An initial submittal, e.g. an application, a request, a corrective action plan, to a DOELAP field element or contractor shall include evidence that the submittal has been formally reviewed and approved by the cognizant DOE field element manager
Subsequent submittals to DOELAP shall include evidence that the cognizant DOE field element manager has been notified
Notes: Notified vs. copied

## Slide 27: DOE-STD-1111-20XX Vendor Qualification (§7.1)
NOT an accreditation
Process by which a commercial vendor is evaluated to determine if it can provide dosimetry services that meet DOELAP requirements
  Required to submit an application, a self-assessment, undergo performance testing, and pass an on-site assessment
Ensures that vendors can demonstrate to DOELAP accredited programs, or programs seeking DOELAP accreditation that they can meet DOELAP requirements

## Slide 28: DOE-STD-1111-20XX Programs Using Commercial Vendors (§7.2)
When a DOELAP accredited program uses a commercial vendor, the DOELAP accredited program is
  Responsible for ensuring the vendor maintains compliance with all DOELAP requirements
  This includes conducting initial and recurring on-site assessments.
  The accredited personnel dosimetry or radiobioassay program management is also responsible for ensuring that the vendor appropriately implements corrective actions, as needed.
More detail and specific DOELAP requirements is provided in DOE-STD-1112 Appendix B, Programs That Use Service Providers

## Slide 29: DOE-STD-1112-2019
Department of Energy Laboratory Accreditation Program for Radiobioassay
Establishes the technical and quality assurance bases for the Performance Testing Progam that administers the radiobioassay testing program and onsite assessments for DOE site radiobioassay programs seeking DOELAP accreditation.
Performance Testing categories
  Based on ANSI/HPS N13.30-2011 Performance Criteria for Radiobioassay

## Slide 30: DOE-STD-1112-2019
  DOELAP accreditation
    Performance testing
    Documentation of program elements important to the long-term quality assurance of a radiobioassay program
    Assessment of program’s ability to
      Accurately perform
      Record
      Report Measurement of radioactive material
          In the human body
          Biological samples
  Vendor qualification
    Nearly identical to accreditation process

## Slide 31: DOE-STD-1112-2019
  DOELAP accreditation
    Performance testing
      ANSI/HPS N13.30-2011
        Subject to change
        Notice through Federal Register when new version implemented
    Onsite assessment
      Info from DOE-STD-1112-2019
      DOE-STD-1111-2018
    Direct or indirect radiobioassay methods used for identifying and quantifying radionuclides are included in the scope of DOELAP for radiobioassay.
    Does not include biokinetic models and internal dosimetry protocols.

## Slide 32: DOE-STD-1112-2019
General Requirements and Information
  ANSI/HPS N13.30-2011 is incorporated into this standard.
    DOELAP may modify any specification as necessary to assure conservatism in the accreditation process.
The applicant selects the testing category or categories for each radiobioassay system (application).
  be capable of measuring each radionuclide in that category
  report results for each radionuclide requested by the PTL
Specific information supporting accreditation shall be submitted to the PTL in the application.
  A concise description of each radiobioassay system to be performance tested.

## Slide 33: DOE-STD-1112-2019
General Requirements and Information
  The applicant shall implement a quality assurance program (QAP)
    10 CFR 830.122 prescribes basic components of and criteria for a QAP.
    HPS/ANSI N13.30-2011 establishes QAP criteria for a radiobioassay program.

## Slide 34: DOE-STD-1112-2019
General Requirements and Information
  STM coordinates performance testing and onsite assessment
  applicant report the performance testing measurement results to the PTL by the requested date
    Failure by an applicant to submit all measurement results by that date may result in failure of the affected test category; failure under this circumstance will not be remedied through a subsequent retest.
  PTL reports the evaluated performance testing results to the applicant after the evaluations have been compiled.
    Includes estimate of the uncertainty of the assigned values of activity
    PTL will not accept any request to change or void any reported result after the test results have been distributed
    Prior to result distribution, erroneous values might be changed at STM discretion

## Slide 35: DOE-STD-1112-2019
PERFORMANCE TESTING
  The applicant shall use the analytical procedure(s) and counting time(s) normally employed for analysis. Any deviation from a measurement protocol shall be documented in the report to the PTL.
  The applicant shall analyze at least 5 (indirect) of the PTL-provided samples or report 5 (direct) repositioned phantom counts for the particular radionuclide in which the applicant is seeking accreditation.
  An applicant may elect to retest if the performance testing results for any selected category do not meet specifications.
  An applicant is allowed a maximum of 2 retests, irrespective of which radiobioassay performance testing category may have failed. Failure of the second retest will result in failure of the application for radiobioassay accreditation. The DOELAP Administrator will provide formal notification to a renewal applicant that the radiobioassay accreditation has expired.

## Slide 36: DOE-STD-1112-2019
ONSITE ASSESSMENT
  An applicant shall demonstrate its ability to conduct a competent radiobioassay program as specified by this technical standard.
  The onsite assessment will assess the organization, quality assurance, documentation, and technical aspects of the radiobioassay program; for accreditation, the assessment will address the program’s ability to support dose determinations from occupational radiation exposure.
  Any identified concern or deficiency shall be addressed as explained in DOE-STD-1111

## Slide 37: DOE-STD-1112-2019 Appendix B PROGRAMS THAT USE SERVICE PROVIDERS
DOELAP accredited programs may purchase radiobioassay services from services providers; however, the DOELAP accredited program has the responsibility for ensuring the requirements of this technical standard are met
A copy of the work agreement with the service provider, including any agreed upon commitments shall be available for review. (Specifics listed)
An explanation of how the DOELAP accredited technical staff have sufficient qualifications and experience to assess the capabilities and limitations of the service provider with respect to the purchased services. (Specifics listed)
A technical basis for the selected performance testing categories or subcategories shall be available.
The program shall have a procedure for conducting quality assurance assessments of the service provider; that includes on-site audits, quality control reviews, and blind quality control. The procedures shall also describe how findings are identified and corrected.

## Slide 38: DOE-STD-1112-2019 Appendix C Minimum Detectible Amount (MDA) and Decision Level (LC) Testing
The MDA and LC testing shall be completed for each radiobioassay analysis described in the DOELAP application for performance testing, and shall incorporate replicate analyses employing all analytical and computational procedures normally part of the bioassay analysis being tested
Processes for testing shall be documented in programmatic documentation
At a minimum, testing must be performed at least once for each system/process and following significant changes to the system or processes requiring Technical Equivalence determinations
MDA values tested should be those claimed on the DOELAP application or in other programmatic documentation (statements of work, technical basis documents, quality assurance program, etc.).
Nuclides used in MDA testing should be representative of those used in routine analyses
All tests must include the appropriate background subtraction and interferences, and the test analyses shall incorporate normal corrections
If testing of a system/process is not possible due to lack of appropriate standards or inability to produce samples at the desired MDAs, then justification shall be provided in programmatic quality assurance documentation