## Slide 1: DOELAP Assessor Training Writing the Assessment Report & Close Out Meeting
Idaho Falls, ID
September 2024

## Slide 2: Assessment Report Finding Categorization
Deficiency
A documented nonconformance with DOELAP requirements that has a significant, immediate, and continuing adverse impact on personnel dosimetry or radiobioassay program quality. DOE-STD-1111-2024? §4.4.2(a)
  A Deficiency may result in the suspension or revocation of a personnel dosimetry or radiobioassay program’s current DOELAP accreditation until all corrective actions are completed, as determined by the DOELAP Administrator
  Develop a corrective action plan and submit it to the DOELAP STM through the appropriate Field Element Manager within 45 days of the assessment close-out meeting
  Complete all corrective actions within 60 days of the DOELAP on-site assessment close-out meeting. Issuance of accreditation is contingent upon resolution of all identified deficiencies. Evidence that a corrective action has been completed shall be received by the DOELAP STM within 60 calendar days of the DOELAP on-site close-out meeting

## Slide 3: Assessment Report Finding Categorization
Deficiency – continued
  Evaluate the effectiveness of the corrective actions and ensure documentation is available for review during the next DOELAP on-site assessment
  Deficiencies may require a monitoring visit prior to resumption of DOELAP-accredited activities
  A recurrent concern identified during the next accreditation cycle may be elevated to a deficiency

## Slide 4: Assessment Report Finding Categorization
Concern
A condition within an element of a personnel dosimetry or radiobioassay program that is considered marginal with respect to compliance with a DOELAP requirement, but does not have a significant, immediate, and continuing adverse impact on program quality
  One or more concerns will not affect a personnel dosimetry or radiobioassay program’s accreditation
  Develop a corrective action plan and submit it to the DOELAP STM through the appropriate Field Element Manager within 45 days of the DOELAP on-site assessment close-out meeting

## Slide 5: Assessment Report Finding Categorization
Concern – continued
  Complete all corrective actions within 1 year of the DOELAP on-site assessment close-out meeting. For any corrective action requiring longer than 1 year to complete, the personnel dosimetry or radiobioassay program management shall notify the DOELAP STM and the appropriate Field Element Manager. The personnel dosimetry or radiobioassay program management shall provide a written justification for why the corrective actions were not able to be completed within 1 year. The DOELAP STM may ask for additional documentation, such as a tentative schedule and estimated completion date
  Evaluate the effectiveness of the corrective actions and ensure documentation is available for review during the next DOELAP on-site assessment

## Slide 6: Assessment Report Finding Categorization
Observation
  A suggested improvement to the personnel dosimetry or radiobioassay program. The suggestion is offered to “fine tune” a program.
  No action or written response is required
  Noteworthy practices may be documented in the assessment report narrative

## Slide 7: Assessment Report Upgrading Previous Concerns
A recurrent Concern identified during the program’s next accreditation cycle, irrespective of any corrective action implemented, will automatically may be elevated to a deficiency. (DOE-STD-1111-2024?)
  Alternatives:
    Assessors may leave the prior Concern open and write a new Concern or Deficiency based on the quality system not functioning effectively
    Assessors may close the prior Concern if there is evidence the CAP was implemented but was ineffective in the longer term
The Senior Technical Manager or Oversight Board have the discretion to recommend a finding at the observation or concern level to be elevated. Rare.

## Slide 8: Assessment Report
Cover Page (provided by the STM)
  Signatures
Introduction or Assessment Summary
  Identification of assessed organization
  Identification of interviewees and position title
  Identification of the assessment team
  Summary of types and number of findings
  Other appropriate information

## Slide 9: Assessment Report
Previous Assessment Status
  Statement of Finding
    The reason we send the word file of the previous assessment report is the finding can be copied and pasted directly into the new assessment report before the assessors write their ‘status’ of previous concerns/deficiencies
  Summary of Resolution for each Finding (Closure or Deficiency)
Individual Sections from Applicable Documents
  General description and comments
  List and prioritization of findings

## Slide 10: Assessment Report Example Report Page
PERSONNEL
Site xyz has an adequate number of personnel to perform the required analyses and maintain the necessary quality assurance requirements. Training is current and documented for all personnel. Retraining is documented, but retraining documents are not signed by the trainer.
Deficiencies
None
Concerns
C.3 The educational background of the operational Team Leader for the whole body counter is inconsistent with requirements in the Position Description. 4.2(b)
Observations
O.2 Retraining is performed and current; however, the trainer has not signed the retraining form. It is suggested that the trainer sign retraining forms to indicate who conducted the training.

## Slide 11: Assessment Report Final Activities
Print and distribute draft final report
  Give the program staff a chance to review report
  Verify the factual accuracy of the report
    Names of interviewees
    Areas of investigation
    Correct management representative(s)
    Correct contractor names (they keep changing!)
    Program and assessors agree to written findings statement (ideally, and within reason)
Prepare informal agenda for closing meeting
Complete final report

## Slide 12: Complete the Assessment Closing meeting
Attendance sheet
Team lead distributes final report
Team lead acknowledges the competence and cooperation of the facility staff, as warranted
Team lead summarizes the scope of the assessment and explains the categorization of findings

## Slide 13: Complete the Assessment Closing meeting (continued)
Team lead presents the assessment findings
Team lead directs the response to questions raised by facility staff (not a roundtable discussion)
Team lead summarizes next steps in the accreditation process e.g., corrective action plan
Team lead gets cover sheet signed by the Authorized Site Representative, or that person’s designee, and the assessment team members
Team lead distributes copies of the report

## Slide 14
Questions?