## Slide 1: Assessing Quality Assurance Programs and Addressing Corrective Actions
Idaho Falls, ID
September 2024

## Slide 2: Quality Assurance Programs
  4.1 Quality Assurance Program
(a) The program shall have a documented quality assurance program describing the internal management structure, system of procedures, and practices to ensure radiobioassay measurements are accurate, repeatable, verifiable, and properly recorded.
(b) The program’s quality assurance manual or supporting documentation shall include
  A statement of quality policy and quality objectives;
  Documented processes, procedures, and instructions;
  Documents needed to ensure effective planning, operation, and control of processes;
  Records required to demonstrate compliance with the quality assurance program;
  Technical Basis Documentation;
  Training objectives and processes for maintaining proficiency;
  Practices for handling and resolving contested results; and
  External interface agreements (if applicable).

## Slide 3: Problem Identification and Corrective Actions
A key component of every quality management system
Programs should have procedures for self assessments, problem identification, causal analysis, corrective action development and tracking, and follow up
Assessors look at internal assessments, responses to DOELAP and other external assessments and evaluate effectiveness of resulting actions
Causal analysis and corrective action is where the rubber meets the road

## Slide 4: Terminology
Root Cause
Root Cause Analysis (RCA)
Correction
Corrective Action
Corrective Action Plan (CAP)

## Slide 5: Root Cause
A factor that caused a nonconformance and should be permanently eliminated through corrective action.
  The root cause is the core issue – the highest-level cause – that sets in motion the entire cause-and-effect reaction that ultimately leads to the problem(s).
  The term root cause implies there is a single cause for a problem.
  Commonly, multiple causes interact and work together to trigger the problem
  Thus, some CAPs may identify more than one true root cause

## Slide 6: Root Cause Analysis (RCA)
  An investigation that involves implementing analytical, problem-solving techniques to identify all potential cause(s) for the nonconformity.
  A collective term that describes a wide range of approaches, tools, and techniques used to uncover causes of problems.
  Revolves around the process of identifying the source of a problem and looking for a solution in a way that the problem is treated at the root level.
  The results of RCA are then used to formulate a CAP.
  The elimination of the symptoms of a problem is not alone sufficient to address the problem and prevent recurrence – it must be addressed at the source.

## Slide 7: Correction
  The action taken to eliminate a detected nonconformity.
  One-time action of fixing a problem that has already been detected or currently occurring
  Quick, on-the-spot fix to a problem (act of containment)
  Does not take action to prevent recurrence
  “Band-Aid” fix
  Example: taking a medicine for the symptomatic relief from a headache

## Slide 8: Corrective Action
  The action taken to eliminate the cause(s) of existing nonconformities to prevent recurrence.
  Example: if a child scrapes their knee, applying a band-aid is the correction, while taking action to prevent the child from falling again is the corrective action.
  Corrective action process starts with a thorough RCA
    Involves investigating, identifying, and understanding the root cause(s) of the nonconformity
    Then, implementing a plan designed to eliminate the identified cause(s) of the nonconformity and preventing it from happening again.

## Slide 9: Correction vs. Corrective Action
Difference between Correction and Corrective Action?
Root Cause Analysis

## Slide 10: Corrective Action Plan (CAP)
  A documented plan of corrective action(s) designed to address and eliminate the identified root cause(s) of the nonconformity to improve processes and prevent recurrence.
  CAPs may be a single plan of action or a step-by-step plan of action depending on the severity of the finding
    i.e., CAPs should be commensurate with the magnitude and risk of the problem
  Corrections as the CAPs = Red Flags

## Slide 11: Goal of Corrective Action Plans
  Identify and address the true root cause(s) of a problem
  Permanently fix the problem and prevent its recurrence
  Eliminate nonconformities
  Improve processes or methods

## Slide 12: Effective Corrective Actions
Adequately address the specific nonconformity
Evidence that a thorough RCA was performed
Addresses system failures
Includes the ongoing assessment of the effectiveness of corrective actions
Ideally, the staff responsible for writing the CAP should be familiar with the processes or areas of noncompliance identified
CAP should be created with realistic corrective actions and timelines

## Slide 13: Examples of Poor Corrective Actions
People find one or more root causes, but they still can’t seem to fix the problem. So, they often revert to the three standard corrective actions to fix all problems.
Discipline: This starts with the common corrective action, “Counsel the employee to be more careful when…”
Training: One of the most used (and misused) corrective action.
Procedures: If you don’t have one, write one. If you already have one, make it longer. If the procedure hasn’t been reviewed, review it.
Another example is the “Re” corrective actions.
Re-train, Re-write, Re-mind, re-evaluate, re-qualify…
If it didn’t work the first time, then why will it work this time?
What caused the first training, procedure, part, rule, qualification, etc. to fail?

## Slide 14: Corrective Action Plans
    Questions that may help to determine if the corrective action plan appropriately addresses the problem.
    Does the CAP address the root cause, or does it simply give correction to the problem?
    Does it address the system?
    Does it implement a change in the system or is it incident specific?
    Is there one corrective action for each identified root cause?
    Does data confirm that the problem is alleviated as a result of the corrective action?

## Slide 15: Purpose of DOELAP Corrective Action Plan
  Accountability
    Ensures the assessed program is held accountable for addressing their nonconformities and implementing corrective actions
    The assessed program is expected to monitor or follow-up on implemented corrective actions, evaluate and document their effectiveness at correcting the problem and preventing recurrence.
    Improve overall performance

## Slide 16: DOELAP Corrective Action Plan
CAP for DOELAP nonconformities should address the following:
  What are the corrective actions?
    Address the nonconformity
  Who is responsible for the implementing the various aspects of the CAP?
    Likely involves multiple personnel
  When (date) is the corrective action planned to be completed?
    Projected timeline for completing CA
  How will ongoing compliance be maintained?
    Follow ups
    Monitor implemented CA
    Evaluate results of implemented CA for effectiveness

## Slide 17: Corrective Action Follow Up
DOELAP Assessors
Check on status of CAs from previous assessments
  Verify all CA’s have been effectively implemented as documented
  Evidence of causal analysis
  Verify the program is monitoring the results of implemented CA(s) for effectiveness and completeness
  Verify all required documentation is provided and satisfactory
  Note the closure of finding(s) in assessment report
If CA implemented differs from submitted CAP –– find out why
STM is available to provide assistance and answer questions

## Slide 18: Corrective Action Plan Example
Criteria:
DOE-STD-1112-2019, 4.4(b): All documents that form the quality assurance program shall be controlled to ensure that the correct documents are being employed. Documents shall be reviewed for accuracy and approved by authorized personnel in accordance with documented review frequencies.
Objective Evidence:
The standard operating procedure XYZ-003, Rev. 21, Assessment, Preventive Action, Corrective Action, and Nonconformance Reporting, has not been updated or revised since 2015. Section 3 states the SOP is to be reviewed and revised every five years.
Rated as a Concern
References the requirement
Provides supporting objective evidence of nonconformity

## Slide 19: Corrective Action Plan Example
  CAP Submitted:
Revise XYZ-003, Rev. 21, Assessment, Preventive Action, Corrective Action, and Nonconformance, as necessary. Revise section 3 of the SOP to state three-year review cycle. Estimated completion date: 6/15/2022.
CAP is more of a correction than corrective action
  lacks evidence of RCA
  Correction = Red Flag
“…revise section 3 of the SOP to state a three-year cycle.”
  If it wasn’t being reviewed/revised during the 5-year cycle, how does this provide more confidence it will be achieved in a shorter cycle?
  This process appears to already be in place, why did it fail? What is the root cause? How can we expect this CAP to effectively correct and prevent the problem from recurring?

## Slide 20: Questions?