## Slide 1: The U.S Department of Energy Laboratory Accreditation Program & The Performance Testing Laboratory
Celena Lewis
Radiological and Environmental Sciences Laboratory

## Slide 2: Testing Laboratory Performance Reports Summary
Tolerance Equation
B2 + S2 ≤ L2
B = Bias
S = Standard Deviation
L = Tolerance Level
0.24 for accident category
0.30 for all other categories
Notes: Reminder of the equation used to determine participant pass/fail

## Slide 3: Testing Laboratory Performance Reports
Notes: Example of Summary Report showing all categories tested in for this dosimeter type passed

## Slide 4: Testing Laboratory Performance Reports
Notes: May pass if individual dosimeters fail within the category

## Slide 5: Testing Laboratory Performance Reports
Notes: Summary report identifying a failure in category IVD-1.

## Slide 6: Testing Laboratory Performance Reports
Notes: Use the information to identify areas for improvement. In this example, the dosimeter response to low energy x-rays may be investigated.
How did RESL screw up? Quality checks performed before reports are sent.

## Slide 7: You Passed! Now What?
Notes: Neutron results are flagged but not deep. Is this an issue a program should investigate?

## Slide 8: Trending
Notes: Results show a negative bias outside the tolerance level when reporting krypton in category IVA-1.

## Slide 9: Trending
Notes: Same trend with krypton as in the 2019 session. This program observed an issue even though the category was passed.

## Slide 10: Trending
Notes: Between the 2022 and 2025 test sessions this program investigated the bias in krypton and applied their own corrective action.

## Slide 11: Invite Your Friends
Notes: Numbers are tricky, sometimes a fat finger wants to push the buttons.
Ask someone who hasn’t been staring at the results for a week to check them; have one person read the results while another types them into the reporting sheet.

## Slide 12: Questions