## Slide 1: DOELAP Assessor Training Perform the Assessment
Idaho Falls, ID
September 2026

## Slide 2: Perform the Assessment Day 1
Opening Meeting – Let site determine who attends, but suggest any interested staff and field office representative.
    A few words about the field office
  Document attendance/attendance roster
  Meeting agenda
    Introductions
    Scope of assessment
    Accreditation process
      More about this on next slide.
    Schedule closing meeting
    Preliminary identification of possible findings from preliminary review.

## Slide 3: Perform the Assessment Day 1
    Accreditation process
Describe the DOELAP accreditation processes:
  Performance testing and its relationship to the assessment.
  The assessment process.
  Categorization of findings.
  The time limits for responding to assessment findings (45 days to the STM, include time for field office concurrence).
  The time limits for correcting deficiencies (60 days).

## Slide 4: Perform the Assessment Day 1
Describe the DOELAP accreditation processes:
  The role of the STM in the assessment process.
  Recommendation of accreditation by the STM.
  Review of the STM’s recommendation by the Oversight Board.
    The STM becomes the Site’s “Champion”.

## Slide 5: Perform the Assessment Day 1
Document Review
  Planning allows the site to have ready the documents you need to validate your preliminary review
  Request further documentation
  Facility Tour
  Equipment, working conditions, application of quality assurance.
  Mechanism to facilitate interviews.
Interviews
  Respect interviewee’s input
  Try to get buy-in from interviewee about accuracy of finding (no need to prioritize at this point)
  (Later you will ensure that the finding is tied to a requirement)
  No Surprises

## Slide 6: Interview Techniques

## Slide 7: Perform the Assessment General Considerations
Exhibit integrity with all the interviewees
Watch out for hidden agendas or for mistaken impressions about what you are doing
Maintain control of the interview at all times
If you lose control of the interview/assessment – LEAVE, take a break, pause, team caucus, etc.

## Slide 8: Do’s and Avoid’s
Do
  Establish and maintain rapport
  Ask open-ended questions and listen actively
  Follow-up or clarify with yes/no questions
  Use checklists
  Take notes
  Report on areas of excellence
  Separate opinion from fact
  Maintain the self-esteem of individuals
  Show understanding of the person being interviewed
  Check assessment results against the “so what?” reaction.
  Verify the accuracy and relevance of findings at the time of identification
Avoid
  Losing objectivity and independence
  Using inappropriate language
  Passing judgments
  Using “I” or “my”
  Solving problems
  “How to do it right”
  Nit picking
  Engaging in comparative discussions
  Interesting diversions
  Being drawn into site politics

## Slide 9: Perform the Assessment
Don’t Forget
  Maintain adequate notes
  Get positive identification, organizational affiliation and job titles of persons interviewed
  Be precise
  Behave ethically
  You can call the STM at any time with questions

## Slide 10: Perform the Assessment Day 1 Debriefing
Meet with staff
  Discuss progress and identify findings (don’t need to comment on the level of finding at this point)
  Discuss status of findings identified in previous assessment – close out or leave open/upgrade
  Allow staff time to verify factual accuracy
  Scope of the next day’s assessment activities
  Reinforce “NO SURPRISES” philosophy

## Slide 11: Sometime between Day 1 and Day 2 Team Caucus
Compile notes, compare findings, evaluate checklist status
Discuss overall impressions, specific concerns
Agree on priority of findings (Deficiency, Concern, Observation)
Identify, prioritize, assign areas to assess on Day 2
Formulate game plan for Day 2 to maximize efficiency
Begin drafting assessment report

## Slide 12: Perform the Assessment Day 2
Meet with staff
Allow follow up from previous day’s factual accuracy checks
Assess items identified in Team caucus
Ensure all checklist items are assessed
Ensure corrective action plans for previous findings effectively implemented

## Slide 13
Questions?