## Slide 1: DOELAP Webinar for Federal Oversight Personnel
May 16, 2023
WebEx

## Slide 2: DOE Laboratory Accreditation Program
Required by 10 CFR 835, Occupational Radiation Protection
  DOE Federal and Contractor Workforce – 132,392*
  Number of Individuals Monitored – 72,830 (55%)*
  Number with Measurable Dose - 14,912 (20% of monitored)*
Based on ISO 17025, Testing and Calibration Laboratories
*CY2017-2021 Average. DOE Occupational Radiation Exposure Report for CY 2021

## Slide 3: DOE Laboratory Accreditation Program
Program Administration
  DOE-STD-1111, DOELAP Administration
External Dosimetry (Similar to NVLAP)
  DOE-STD-1095, DOELAP for Personnel Dosimetry
  Established in 1986
Radiobioassay
  DOE-STD-1112, DOELAP for Radiobioassay
  Established in 1998

## Slide 4: External Dosimetry
Assessment of exposure to radiation outside the body.
Accomplished by wearing a dosimeter for radiological work
  Whole body
  Extremity
Currently 24 DOELAP accredited programs
Supported by 35 volunteer assessors

## Slide 5: Internal Dosimetry
Assessment of dose from radionuclides incorporated inside the body.
Indirect Radiobioassay (in vitro)
  Estimate of radioactive material in excreta or in other biological material removed from the body.
Direct radiobioassay (in vivo)
  Measurement of radioactive material in the body utilizing instrumentation that detects radiation emitted
Currently 18 DOELAP accredited programs
Supported by 32 volunteer assessors

## Slide 6: DOELAP Team
David Pugh, DOELAP Administrator
Office of Worker Safety and Health Policy
George Chiu, Health Physicist
Office of Worker Safety and Health Policy
Steve Bohrer, Senior Technical Manager
DOE Radiological and Environmental Sciences Laboratory
Laird Bean, Assessment Coordinator
DOE Radiological and Environmental Sciences Laboratory
Guy Backstrom, Director
DOE Radiological and Environmental Sciences Laboratory

## Slide 7: DOELAP Process
Application
Categories based on site requirements
Quality Assurance Program
Field Office Review
Performance Testing
ANSI N13.11, Personnel Dosimetry Performance Criteria and Testing
ANSI N13.32, Performance Testing for Extremity Dosimeters
ANSI N13.30, Performance Criteria for Radiobioassay
On-Site Assessment
Direct observation and evaluation
Conducted by technical experts
Oversight Board Review
Complete Package
Recommendations to Administrator
Accreditation
Period of 3 years
Notify DOELAP of changes
Memo goes to Field Office

## Slide 8: Application
Correct contact info
Categories meet site requirements
Information is complete
Vendors/service providers
  Vendors don’t apply separately
  Sites include vendor information
  11/18 radiobioassay programs use General Engineering Laboratories (GEL)
  13/24 external dosimetry programs use Landauer
  Sites must show ability to understand how vendors are performing work, receive and interpret data, test vendor performance, etc.

## Slide 9: Field Office application approval

## Slide 10: Performance Testing
Results are reported/evaluated for all required categories
When failures occur an acceptable CA is developed and followed through
Retesting
  External dosimetry automatically enrolls the program in the next test cycle (6 month cycle)
  Radiobioassay provides retesting samples out of the normal schedule (12 month cycle)
  DOE-STD-1111-2018 allows for max of two retests
  Sites should be tracking vendor failures
Sites are tested every 3 years. Current vendors tested yearly

## Slide 11: On-site Assessment
Conducted by DOELAP-trained assessors
Generally 2-3 assessors over 2 days
Sites are responsible to invite DOE Field Office for opening and closing meetings
Assessors use DOELAP-created checklist based on relevant DOE standards
Checklists are available at https://www.id.energy.gov/resl/doelap/doelap.html
Follow up on previous corrective actions

## Slide 12: Findings (DOE-STD-1111-2108)
Observation – suggested improvement or noteworthy practice, no response required
Concern – marginal compliance, but doesn’t have “significant, immediate, and continuing adverse impact” on quality
  Develop and submit CAP to STM through Field Office within 45 days
  Complete CAP within one year
  Evaluate effectiveness
Deficiency – “significant, immediate, and continuing adverse impact” on quality. Results in suspension of application
  Develop and submit CAP to STM through Field Office within 45 days
  Complete CAs within 60 days of assessment close-out and submit evidence to STM
  Evaluate effectiveness

## Slide 13: Corrective Action Plans
Submitted by site to STM (through Field Office)
  Short turn around, adequate root cause analysis?
STM reviews, sends to assessors for review
STM sends comments (if any) to site for CA revision
Final CAP sent to STM with FO approval
Must include estimated completion dates. Standard allows up to 1 year for completion. Should be realistic and risk-and evidence-based. Sites generally don’t need to take the full year.
OSB review may recommend accreditation with contingencies on CAP completion

## Slide 14: Oversight Board Review
OSB made up of technical experts from various DOE sites
Role is to review recommendations made by the STM and advise the DOELAP Administrator regarding approval or denial of accreditation
Generally meets once per year
  Review accreditation packets
  Make recommendations
  Not binding

## Slide 15: Accreditation
Memo from DOELAP Administrator to Field Office
DOE site holds the accreditation
Vendors are not DOELAP accredited or certified
Accreditation period is 3 years
Mid-cycle monitoring visits are possible

## Slide 16: Technical Equivalency
Substantive changes to accredited program
  Replacement of a major equipment component
  Change in critical software
  Change in a dosimeter algorithm outside of routine DOELAP performance testing
  Major changes to or new methods or procedures
Not like-for-like replacement
TE request generally done by site in consultation with STM
Formal TE request comes through Field Office, and memo granting TE goes to Field Office

## Slide 17: Oversight “Opportunities”
Management assessments
Blind audit program
Mid-cycle internal self-assessment to DOELAP checklist
Continuity of accreditation
Please notify us if you leave a position as Field Office POC

## Slide 18: Program Updates
DOE-STD-1095-2018, DOELAP for Personnel Dosimetry
  Continuation of Accredited Activities
  Example Management Review Template added to Appendix
  Continuation of Accredited Activities added to Management Review requirements
  Clarification of Blind audit program requirements
Similar updates to STD-1112 planned after REVCOM comment resolution.

## Slide 19: Assessor Opportunity
Assessor: individual recognized by DOELAP as a technical expert who has been trained and qualified to perform assessments in support of DOELAP accreditation process.
Send recommendation along with resume to Steve Bohrer, bohrerse@id.doe.gov.
Planned External Dosimetry Assessor Training at INL in September 11-12, 2023